## Slide 1
ORBITAL ATHERECTOMY IN CORONARY ARTERIES
ICD-10-CM/PCS Coordination and Maintenance Committee Meeting
March 18, 2015
Jeffrey W. Chambers, MD
Metropolitan Heart and Vascular Institute,
Mercy Hospital
Minneapolis, Minnesota
HCP-0005.A
Notes: 1

## Slide 2: Disease State PREVALENCE
Chart: 
| CHF | Stroke | Cancer | CAD | PAD | Diabetes | Kidney Disease
 | 5.1 | 6.8 | 13 | 16.3 | 18 | 26 | 31
Coronary artery disease – large and growing problem in the US
*1
3
4
*Includes myocardial infarction and angina pectoris
Dolor RJ, et al. Comparative Effectiveness Reviews, No. 66. 2012 Aug.
Go AS, et al. Circulation. 2014;129:e28-292.
American Diabetes Association Diabetes Fact Sheet. Accessed April 21, 2014.
American Kidney Fund Website. Accessed July 30, 2013.
Howlader N, et al. SEER Cancer Statistics Review, 1975-2010. Accessed April 17, 2014.
Schiavetta A, et al. Stem Cells Translational Medicine. 2012;1:572-578.
5
2
2
6
2
Notes: Prevalence of disease state

## Slide 3: risks Factors for coronary Calcification
Advanced Age
Diabetes
Kidney Disease
41.4M 65+yrs old in U.S.2
85+ age group is the fastest growing in the U.S.
Up to 26M in U.S.1
New epidemic,
the fastest growing health problem in the U.S.
Up to 31M in U.S.3
Diabetes is leading cause of kidney disease
Calcium Deposits in the Coronary Arteries
American Diabetes Association Diabetes Fact Sheet. March, 2013 Accessed on April 21, 2014.
U.S. DHHS. Administration on Aging. Accessed Nov. 24, 2014.
American Kidney Fund. Accessed July 30, 2013.
3

## Slide 4
Torre Hernandez JM, et al. J Invasive Cardiol. 2005;17:365-368.
Mintz GS, et al. Circulation. 1995;91:1959-1965.
Nishida K, et al. Am J Cardiol. 2013;112:647-655.
Honye J, et al. Circulation. 1992;85:1012-1025.
Rathore S, et al. CCI. 2010;75:919-927.
Kume T, et al. Circ J. 2007;71:643-647.
Genereux P, et al. J Am Coll Cardiol. 2014;63:1845-54.
Bourantas CV, et al. Heart. 2014;100:1158-64.
WHAT IS CORONARY ARTERY Calcification
And HOW DO WE DEFINE IT?
Two definitions of coronary calcification as proposed to the ICD-10-CM/PCS Committee: angiographic or IVUS
  NONE or MILD calcification
    – Radiopacities barely visible in close examination before contrast injection1 or IVUS reveals arc of calcium less than 90 degrees or no calcium arc4
  MODERATE calcification
  – Radiopacities noted only during the cardiac cycle before contrast injection1,2,3 or IVUS reveals arc of calcium 90 to 180 degrees4,5
  SEVERE calcification
  – Radiopacities noted without cardiac motion before contrast injection generally compromising both sides of the arterial lumen1,2,3 or IVUS reveals arc of calcium greater than 180 degrees4,5,6
Incidence of severe calcification: 6%7 to 20%8
Image courtesy of Nabil Dib, MD
4
4
Calcium Deposits
In the LAD
Notes: What is coronary Ca and how do we define it?

## Slide 5
WHY DO WE CARE ABOUT CORONARY CALCIFICATION?
Respond poorly to angioplasty1
Difficult to completely dilate2
Prone to dissection during balloon angioplasty or predilatation1
Preclude stent delivery to the desired location2,3
Can prevent adequate stent expansion4 → restenosis, stent thrombosis, readmissions
May result in stent malapposition5
Insufficient drug penetration and subsequent restenosis6
Fitzgerald PJ, et al. Circulation. 1992;86:64-70.
Cavusoglu E, et al. Cathet Cardivasc Intervent. 2004;62:485-498.
Gilutz H, et al. Cathet Cardiovasc Intervent. 2000;50:212-214.
Moussa I, et al. Circulation. 1997;96:128-136.
Mosseri M, et al. Cardiovasc Revasc Med. 2005;6:147-53.
Ichihashi S & Kichikawa K. Ther Clin Risk Manag. 2014;10:467-474.
Buckley CJ. Vascular Disease Management. 2011;8:87-92.
Dardas P, et al. Hellenic J Cardiol. 2011;52:399-406.
Hernandez J, et al. J Invasive Cardiol. 2014;26:E122-E123.
5
7
Shows incomplete apposition, incomplete expansion and an edge tear.
8
Calcified ostial lesion in the right coronary artery (black arrow).
9
Arrows show the calcified lesion (A) and/or stent underexpansion (B, C).
Notes: Why do we care?

## Slide 6
Balloon Angioplasty
Coronary stents
WHAT is THE Current Standard of care TO TREAT CORONARY calcification?
6
Notes: Why doesn’t it work?

## Slide 7
Severe calcium results in higher procedural complication rates and higher incidence of major adverse cardiac events1-3
Patients with severely calcified coronary arteries tend to be older with higher prevalence of diabetes, kidney disease, and hypertension4-6
Patients with Severe Calcification have worse outcomes. 1,9-12
CLINICAL OUTCOMES IN PATIENTS
WITH SEVERE CALCIUM
Chart: 
| Death | Cardiac death | MI | TLR | MACE
None/Mild | 0.028 | 0.018 | 0.073 | 0.06 | 0.129
Moderate | 0.042 | 0.028 | 0.076 | 0.082 | 0.153
Severe | 0.063 | 0.04 | 0.094 | 0.087 | 0.199
p=0.003
p=0.002
p=0.22
p=0.0017
p=0.0001
Fitzgerald PJ, et al. Circulation. 1992;86:64-70.
Kawaguchi R, et al. Cardiovasc Revasc Med. 2008;9:2–8.
Genereux P, et al. J Am Coll Cardiol. 2014;63:1845-54.
Won KB, et al. Diabetol Metab Syndr. 2014;6:134.
Shemesh J, et al. Am J Cardiol. 2012;109:844-850.
Kramer H, et al. J Am Soc Nephrol. 2005;16:507-513.
Meerkin D, et al. J Invasive Cardiol. 2002;14:547-551.
Parikh K, et al. Catheter Cardiovasc Interv. 2013;81:1134-1139.
Bangalore S, et al. Catheter Cardiovasc Interv. 2011;77:22-28.
Kocka V, et al. Eur Heart J. 2014;35:787-94.
Ullah M, et al. Cardiovasc J. 2014;6:149-163.
Camnitz WM & Keeley EC. J Interv Cardiol. 2010;23:254-255.
Requires more time and equipment to treat7,8
More costly to treat7,8
Genereux P, et al. 2014 – ACUITY/HORIZONS
7
Notes: Pt population w/ ACS
Atherectomy was included

## Slide 8
OTHER OPTIONS FOR TREATING CALCIFIED CORONARY ARTERIES
Atherectomy
    modify calcified deposits and plaques1
    may change artery compliance2
    low rate of dissections and perforations3
    facilitate stent delivery and expansion1
Adequate lesion preparation with atherectomy appears to help stent implantation in severely calcified lesions.4,5
Abdel-Wahab M, et al. JACC Cardiovasc Interv. 2013;6:10-9.
Parikh K, et al. Catheter Cardiovasc Interv. 2013;81:1134-1139
Chambers JW, et al. J Am Coll Cardiol Intv. 2014;7:510-8.
Ullah M, et al. Cardiovasc J. 2014;6:149-163.
Moussa I, et al. Circulation. 1997;96:128-36.
8
Notes: What can we do to improve outcomes?

## Slide 9: CONVENTIONAL Atherectomy procedures
  Laser
    Utilizes pulsed laser energy to vaporize the plaque into particles
    Suited for removal of soft or medium plaque
  Directional
    Direct and orient the cutting blade to plaque for removal
    Does not discriminate between diseased plaque and arterial tissue
    Suited for removal of soft or medium plaque
  Rotational
    Forward drill-like mechanism
    Rotating burr in constant contact with the lesion circumference
    Not indicated for calcified lesions
9

## Slide 10
ROTAXUS
240 pts with calcified lesions enrolled between August 2006 and March 2010 at 3 clinical sites in Germany
Angio follow-up at 9 months in 80.5% (N=190)
Clinical follow-up at 9 months in 96.2% (N=227)
1:1 randomization
PTCA + PES
(N=120)
Rotablator + PES
(N=120)
2 patients died in-hospital
6 patients withdrew consent
5 patients lost at follow-up
*Primary endpoint: In-stent late loss
Mean age 71
DM 28%
MVD 74%
Ostial 18%
Bifurc 48%
B2/C 90%
IVUS not used
Abdel-Wahab M, et al. JACC Cardiovasc Interv. 2013;6:10-9.
10

## Slide 11
Chart: 
| Angiographic success* | Stent loss | Crossover | Strategy success**
Rota+PES | 0.967 | 0 | 0.042 | 0.925
PTCA+PES | 0.967 | 0.025 | 0.125 | 0.833
ROTAXUS: Procedural Outcomes
p = 0.03
p = 0.08
p = 1.0
* Defined as <20% residual stenosis + TIMI 3 flow
** Defined as angiographic success with no crossover or stent loss
p = 0.02
Abdel-Wahab M, et al. JACC Cardiovasc Interv. 2013;6:10-9.
11

## Slide 12: RotaxUs Primary endpoint
Chart: 
| 9-Month Late Lumen Loss
RA and PES | 0.44
PTCA and PES | 0.31
Abdel-Wahab M, et al. JACC Cardiovasc Interv. 2013;6:10-9.
12

## Slide 13: ROTAXUS: 9-month follow-up
Chart: 
| Death | MI | TVR | TLR | MACE* | Definite ST
Rota + PES (n=123) | 0.05 | 0.067 | 0.167 | 0.124 | 0.242 | 0.009
PTCA + PES (n=132) | 0.058 | 0.058 | 0.183 | 0.132 | 0.283 | 0
P = 1.0
* Defined as death MI and TLR
P = 0.78
P = 0.79
P = 0.73
P = 0.84
P = 0.46
Abdel-Wahab M, et al. JACC Cardiovasc Interv. 2013;6:10-9.
13

## Slide 14
Diamondback 360° Coronary Orbital Atherectomy System (OAS)
  The first and only FDA approved atherectomy device specifically indicated for severe calcium
14

## Slide 15
DIAMONDBACK 360
CORONARY OAS
https://www.youtube.com/watch?v=PVr7Ftzl5Mc

## Slide 16: Unique mechanism of action
Coronary Orbital Atherectomy utilizes an
orbiting mechanism of action:
  Differential, circumferential (orbital) sanding mechanism
    Differentiates between hard, calcified plaques and healthy arterial tissue
  Variable size of lumen modification
    Higher speed, larger treatment area (speed controlled by the operator) – one device treat multiple vessel sizes
  Non-occlusive
    Continuous flow of blood during orbit – constant cooling of tissue – minimizes thermal injury
  Bi-directional treatment
    The device circumferentially sands plaque when pushed forward or pulled back
16

## Slide 17
ORBIT II
Study Design
  Prospective, multi-center trial
  Single arm trial as there are no FDA-approved percutaneous treatments for patients with severely calcified lesions
To evaluate the safety and efficacy of the coronary Orbital Atherectomy System (OAS) to prepare de novo, severely calcified coronary lesions for stent placement
443 patients enrolled in 49 U.S. sites
30-day follow-up – published1
1 year follow-up – published2
2-year data – published3
17
Chambers JW, et al. J Am Coll Cardiol Intv. 2014;7:510-8.
Chambers JW. Presented at SCAI 2014.
Chambers JW. Presented at CRT 2015.

## Slide 18
ORBIT II
Patient Demographics & Lesion Characteristics
Demographics | ORBIT II (N=443) | ROTAXUS (N=120) | ACUITY/HORIZONS (N=402)
Age (yrs) | 71.4 | 70.5 | 65.3
Male | 64.6% | 72.3% | 72.6%
History of diabetes mellitus | 36.1% | 27.7% | 25.6%
History of hypertension | 91.6% | 89.1% | 61.9%
History of dyslipidemia | 91.9% | 76.5% | 50.4%
Prior CABG | 14.7% | 7.6% | 14.4%
Vessel & Lesion Characteristics | N=440 | N=146 | N=402
Severe calcification | 100% | 44.5% | 100%
Mean pre-procedure target lesion length | 18.9 mm | 20.6 mm | 14.9 mm
Mean pre-procedure minimum lumen diameter | 0.5 mm | - | 0.44 mm
Mean pre-procedure percent stenosis | 84.4% | 81.5% | 84.3%
Real-world patients
Real-world patients are older, more often females, with higher predicted risk of mortality, and have substantially more comorbidities such as diabetes, hypertension or dyslipidemia.1-6
Udell JA, et al. JAMA. 2014;312:841-843.
Zulman DM, et al. J Gen Intern Med. 2011;26:783-90.
Cherubini A, et al. Arch Intern Med. 2011;171:550-556.
Niederseer D, et al. International Journal of Cardiology. 2013;168:1859–1865.
Lind KD. AARP Public Policy Institute. 2011
Lempereur M, et al. EuroIntervention. 2014; doi: 10.4244/EIJY14M12_11. [Epub ahead of print]
76.1% 65 years or older
18

## Slide 19
ORBIT II - Results
Chart: 
| Category 1
Series 1 | 0.898
89.6%
PRIMARY EFFICACY ENDPOINT
Performance goal: 82%
Procedural Success: 88.9%*
Successful Stent Delivery 97.7%
Residual Stenosis < 50% 98.6%
Freedom from MI (CK-MB>3x ULN) 90.7%
Non Q-wave 91.4%
Q-wave 99.3%
Freedom from TVR/TLR 99.3%
Freedom from Cardiac Death 99.8%
PRIMARY SAFETY ENDPOINT
Performance goal: 83%
Freedom from 30 day MACE: 89.6%
Freedom from MI (CK-MB>3x ULN) 90.3%
Non Q-wave 91.2%
Q-wave 99.1%
Freedom from TVR/TLR 98.6%
Freedom from Cardiac Death 99.8%
Chart: 
| Category 1
Series 1 | 0.891
(95% CI = 86.7%, 92.5%)
*Subjects may have more than one event.
19

## Slide 20
MORTALITY
Chart: 
| ORBIT II 9 mos OAS+BMS/DES | ROTAXUS 9 mos RA+DES | ROTAXUS 9 mos DES alone | ORBIT II 1 y OAS+BMS/DES | ACUITY/HORIZONS 1 y All PCI (BMS/DES) | Severe | Moderate/severe | Severe | Severe
Mortality | 0.03 | 0.05 | 0.058 | 0.044 | 0.063
9 months results
1 year results
ORBIT II, 100% severely calcified lesions – Chambers JW, et al. J Am Coll Cardiol Intv. 2014;7:510-8.
ROTAXUS, ~50%/50% moderate/severely calcified lesions – Abdel-Wahab M, et al. J Am Coll Cardiol Intv. 2013;6:10-9.
ACUITY/HORIZONS, 100% severe calcified lesions – Genereux P, et al. J Am Coll Cardiol. 2014;63:1845-54.
Calcification
OAS has demonstrated substantial clinical improvement in reducing mortality rates in treating severely calcified lesions.
20
*The cited clinical trials did not involve direct device-to-device comparison and they varied in study design. The comparison shown is based upon peer-reviewed reports of the studies and is intended to show differences in classes of adverse events to support CMS need for data showing clinical improvement.

## Slide 21
MACE Rates
Chart: 
| ORBIT II 9 mos OAS+BMS/DES | ROTAXUS 9 mos RA+DES | ROTAXUS 9 mos DES alone | ORBIT II 1 y OAS+BMS/DES | ACUITY/HORIZONS 1 y All PCI (BMS/DES) | Severe | Moderate/severe | Severe | Severe
MACE | 0.148 | 0.242 | 0.283 | 0.164 | 0.199
ORBIT II, 100% severely calcified lesions – Chambers JW, et al. J Am Coll Cardiol Intv. 2014;7:510-8.
ROTAXUS, ~50%/50% moderate/severely calcified lesions – Abdel-Wahab M, et al. J Am Coll Cardiol Intv. 2013;6:10-9.
ACUITY/HORIZONS, 100% severe calcified lesions – Genereux P, et al. J Am Coll Cardiol. 2014;63:1845-54.
9 months results
1 year results
Calcification
OAS has demonstrated substantial clinical improvement in reducing MACE rates in treating severely calcified lesions.
21
*The cited clinical trials did not involve direct device-to-device comparison and they varied in study design. The comparison shown is based upon peer-reviewed reports of the studies and is intended to show differences in classes of adverse events to support CMS need for data showing clinical improvement.

## Slide 22
Target Lesion Revascularization Rates
Chart: 
| ORBIT II 9 mos OAS+BMS/DES | ROTAXUS 9 mos RA+DES | ROTAXUS 9 mos DES alone | ORBIT II 1 y OAS+BMS/DES | ACUITY/HORIZONS 1 y All PCI (BMS/DES) | Severe | Moderate/severe | Severe | Severe
TLR | 0.035 | 0.117 | 0.125 | 0.047 | 0.087
ORBIT II, 100% severely calcified lesions – Chambers JW, et al. J Am Coll Cardiol Intv. 2014;7:510-8.
ROTAXUS, ~50%/50% moderate/severely calcified lesions – Abdel-Wahab M, et al. J Am Coll Cardiol Intv. 2013;6:10-9.
ACUITY/HORIZONS, 100% severe calcified lesions – Genereux P, et al. J Am Coll Cardiol. 2014;63:1845-54.
9 months results
1 year results
Calcification
OAS has demonstrated substantial clinical improvement in reducing TLR rates in treating severely calcified lesions.
22
*The cited clinical trials did not involve direct device-to-device comparison and they varied in study design. The comparison shown is based upon peer-reviewed reports of the studies and is intended to show differences in classes of adverse events to support CMS need for data showing clinical improvement.

## Slide 23: ORBIT II Study Objective – Safety
Chart: 2-year outcomes
| Cardiac death | TVR | MI* | MACE
2-year | 0.043 | 0.081 | 0.109 | 0.194
*Not per protocol analysis. Clinically driven evaluation based on CEC adjudication of MI.
OAS has demonstrated that is safe in treating de novo, severely calcified coronary lesions.

## Slide 24: ORBIT II 1 and 2 year TVR/TLR Rates within Range of DES Literature*
 | 1-year |  | 2-year | 
 | TVR | TLR | TVR | TLR
ORBIT II—all stent types | 1.9% | 4.7% | 2.9% | 6.2%
ORBIT II—DES only | 1.6% | 3.4% | 2.7% | 5.2%
ROTAXUS—RA + DES1 | NR | NR | 19.6% | NR
DES RCT—severe Ca2+ included | 0.7-7.6%2 | 0.0-7.8%3 | 3.7-14.9%4 | 3.5%-11.0%5
*Literature search of coronary drug eluting stent (DES) randomized controlled trials (RCT) is on file at CSI. This summary table shows the TVR/TLR events as presented in the literature, but is not a direct device-to-device comparison since the studies described vary in design.
Abdel-Wahab M, et al. Rotational atherectomy before paclitaxel-eluting stent implantation in complex coronary lesions: Two-year clinical outcome of the randomized ROTAXUS trial. Presented at EuroPCR 2013--Paris, France.
COMPARE (Lancet. 2010;375:201-9.), DESSERT (Am J Cardiol. 2008;101:1560-6.), ESSENCE-DIABETES (Circulation. 2011;124:886-92.), EXAMINATION (Lancet. 2012;380:1482-90.), EXCELLENT (J Am Coll Cardiol. 2011;58:1844-54.), LONG-DES III (JACC Cardiovasc Interv. 2011;4:1096-103.), MISSION (Am J Cardiol. 2010;106:4-12.), PRISON II (Circulation. 2006;114:921-8.), RESET (Circulation. 2012;126:1225-36. ), RESOLUTE (J Am Coll Cardiol. 2011;57:2221-32.), SESAMI (J Am Coll Cardiol. 2007;49:1924-30.),TWENTE (J Am Coll Cardiol. 2012;59:1350-61.), ZEST (J Am Coll Cardiol. 2010;56:1187-95.)
COMPARE (Lancet. 2010;375:201-9.), DESSERT (Am J Cardiol. 2008;101:1560-6.), ESSENCE-DIABETES (Circulation. 2011;124:886-92.), EXAMINATION (Lancet. 2012;380:1482-90.), EXCELLENT (J Am Coll Cardiol. 2011;58:1844-54. ), ISAR Left Main (J Am Coll Cardiol. 2009;53:1760-8.), KOMER-AMI (EuroIntervention. 2011;7:936-43.), LONG-DES III (JACC Cardiovasc Interv. 2011;4:1096-103.), MISSION (Am J Cardiol. 2010;106:4-12.), PASEO (JACC Cardiovasc Interv. 2009;2:515-23.), PRISON II (Circulation. 2006;114:921-8.), PROSIT (Catheter Cardiovasc Interv. 2008;72:25-32.), RESET (Circulation. 2012;126:1225-36.), RESOLUTE (J Am Coll Cardiol. 2011;57:2221-32.), SESAMI (J Am Coll Cardiol. 2007;49:1924-30.), TWENTE (J Am Coll Cardiol. 2012;59:1350-61.), ZEST (J Am Coll Cardiol. 2010 ;56:1187-95.)
BASKET-PROVE (N Engl J Med. 2010;363:2310-9.), DES-Diabetes (JACC Cardiovasc Interv. 2011;4:310-6.), GISSOC II-GISE (Eur Heart J. 2010;31:2014-20.)
DES-Diabetes (JACC Cardiovasc Interv. 2011;4:310-6.), GISSOC II-GISE (Eur Heart J. 2010 ;31:2014-20.), ISAR Left Main (J Am Coll Cardiol. 2009;53:1760-8.), PASEO (JACC Cardiovasc Interv. 2009;2:515-23.)

## Slide 25: Summary of clinical data
Calcified vessels are technically challenging to treat, requiring more time and resources.
Using the DIAMONDBACK Coronary OAS, the first and only device approved by FDA specifically to treat severely calcified lesions, offers an effective method to treat calcified coronary lesions to facilitate stent placement in these difficult-to-treat patients.
Compared to the currently available treatments coronary orbital atherectomy has demonstrated substantial clinical improvement in treating severely calcified coronary lesions as shown by reduced rates of cardiac death, mortality, MACE, and TLR, as well as by reduced length of stay and costs.
25

## Slide 26: Need for changes to the code structure
Current coding does not have a means of identifying the use of orbital atherectomy in coronary artery interventions
Establishing a unique qualifier will identify coronary orbital atherectomy from other currently available atherectomy treatments
A unique qualifier will provide the ability to collect and track:
  clinical data for treatment of severely calcified lesions
  utilization and resource costs
  more accurate coding for reimbursement
26

## Slide 27: Medical record documentation
DIAMONDBACK 360®
Orbital Atherectomy System (OAS)
Coronary orbital atherectomy with severely calcified lesions
Coronary orbital atherectomy with DES/BMS delivery
Coronary orbital atherectomy with PTCA
Orbital atherectomy procedures are typically
described within the Medical Record as:
27