## Slide 1: A New ICD-10-PCS Code For Extracorporeal Removal of Thrombi and Emboli from Venous System
Presented by: John Moriarty, MD
Vascular & Interventional Radiology
UCLA Medical Center
Presented to: ICD-10-CM/PCS Coordination and Maintenance Committee Meeting
Centers for Medicare & Medicaid Services
March 18, 2015

## Slide 2: Agenda
Coding Issue: Currently no ICD-9 or ICD-10 code to describe this unique intervention
About Deep Vein Thrombosis
Traditional Treatments
Extracorporeal Removal of Thrombi & Emboli
Rational for ICD-10-PCS
ICD-10-PCS Code Options
New Technology Add on Payment
Questions and Answers

## Slide 3: Venous Blood Clots
Blood clots (thrombus) that form within a vein
  DVT: Deep Vein Thrombosis
  PTS: Post Thrombotic Syndrome
  VTE: Venous Thromboembolism

## Slide 4: Deep Vein Thrombosis (DVT)
DVTs occur in large venous structures:
•Superior Vena Cava (SVC)
•Inferior Vena Cava (IVC)
• Right Atrium (RA)
• Iliofemoral venous system
DVTs occur as a result of:
• Venous stasis (low or no blood flow)
• Vascular injury
• Hypercoagulable state (cancer, protein C or S deficiency)

## Slide 5: VTE Statistics
1 to 3 per 1000 in general population per year
900,000-1,000,000 events in US per year
Third most common cause of cardiovascular mortality
20% mortality at 1 year
In-hospital VTE fatality is 12%, rising to 21% in elderly population

## Slide 6: VTE Incidence

## Slide 7: VTE Mortality

## Slide 8: VTE in 2015
DVT is very common
Post Thrombotic Syndrome (PTS) is the most common complication of DVT
PTS causes large scale:
  Morbidity
  Societal cost
  Reduction in patient QOL
PTS is inadequately prevented and treated by current regimes

## Slide 9: Post Thrombotic Syndrome (PTS)
Leg swelling
Limb pain
Edema
Skin Changes
Leg Ulceration
Notes: Induration
Venous Eczema
Corona Phlebascia

## Slide 10: Extremely Common
20 – 50% of patients with DVT develop PTS despite optimal anticoagulation
  In most cases, within 12 months
  Cumulative incidence 10 – 20 years post
5 – 10% develop severe PTS…ulcers
Probability of developing venous ulcer over 10 years following DVT = 5%
Kahn, Circ, 2014
Zidane, Arch Int Med, 2000
Kahn, Ant Int Med, 2008
Hencke, J Vac Surg, 2011
Notes: It is projected that the number of adults in the United States with venous thromboembolism (of which DVT is the predominant form) will double from 0.95 million in 2006 to 1.82 million in 205014; therefore, improved prevention and treatment of DVT are critical in decreasing the incidence of PTS.

## Slide 11: Causes of PTS
Kahn, Circ, 2014

## Slide 12: Extreme Societal Cost
2 million workdays lost per year in US as a result of leg ulcers
QOL impairment = COPD, HF
2 year initial total per-patient cost of PTS was Canadian $4527
  X2 if DVT without PTS
Estimate mean adjusted annualized cost of developing PTS…$11,667
  AF $6697
  MI $9716
Bergen, NEJM, 2006
Guanella, JTH, 2011
McDougal, AMJHT, 2006
Notes: Largely attributable to greater use of healthcare visits and prescription medications, but almost 50% in non-medical costs

## Slide 13: Current Treatments for VTE
Systemic anticoagulation
Surgical thrombectomy/embolectomy
Systemic thrombolysis
Catheter-directed thrombolysis (CDT)

## Slide 14: Anticoagulation
Glucosaminoglycans (GAGs)
  Heparin/heparin sulfate
Vitamin K Agonists (VKAs)
  Coumadin/warfarin
Low Molecular Weight Heparin (LMWH)
  enoxaparin (Lovenox)
New Oral Anticoagulants (NOACs) approved for:
  Reduction of recurrent DVT
  Prevention of PE
    dabigatran (Pradaxa)
    rivaroxaban (Xarelto)
    apixaban (Eliquis)
Prandoni, Ann Intern Med, 2009
Shulman, NEJM, 1997
Schulman, NEJM, 2009

## Slide 15: New Oral Anticoagulants (NOACs)
DVT Prophylaxis
  2008: RECORD 1,2,3 (rivaroxaban: knee, hip, hip)  superior, fewer bleeds (knees)
  2008-10: ADVANCE 1,2,3 (apixaban: knee, knee, hip)  superior with EU dosing, inferior with US dosing
VTE (DVT/PE)
  2010 EINSTEIN (rivaroxaban)  noninferior
  2012: EINSTEIN-PE (rivaroxaban)  noninferior, fewer bleeds in PE trial
  2013: EINSTEIN-EXTEND (rivaroxaban)  superior, more bleeds than placebo
  AMPLIFY (apixaban)  noninferior, fewer bleeds
  AMPLIF-EXT (apixaban)  superior, 2.5 mg dose equal placebo bleeds

## Slide 16: Open Vein Hypothesis
Rapid thrombus elimination and restoration of unobstructed deep venous flow may prevent valvular damage, reflux, venous obstruction and PTS.
  Meissner (1993): venous segments that developed valvular reflux had longer (2.3 to 7.3 times) endogenous clot clearance than segments that did not (P<0.04)
  Prandoni (2005): PTS developed more frequently in proximal DVT patients who had residual venous thrombus or popliteal valvular reflux at 6-mo follow-up (n=180, 47% vs. 23%, P<0.01)
  Hull (20056): metaanalysis of 11 randomized DVT treatment trials and found a strong correlation between the amount of residual trhombus after a course of anticoagulant therapy and the subsequent incidence of recurrent VTE
Notes: Systemic anticoagulation alone does not reduce the risk of PTS. Earlier and more complete thrombus clearance producing an “open vein” can relieve venous outflow obstruction, preserve valvular function, and reduce venous hypertension

## Slide 17: Systemic Thrombolysis
Significant (18%) or complete clot lysis (45%) can be achieved by giving systemic lysis, but with an unacceptably high risk of bleeding complications (14%)
Goldhaber, Am J med, 1984
Elliot, BJS, 1979,
Turpie, Chest, 1990
Notes: More focused therapy, personalized to the area of clot

## Slide 18: Catheter-Directed Thrombolysis (CDT)
CDT allows higher intrathrombus drug concentration, enhancing drug concentration and reducing total dose
“CDT has been consistently successful in the removal of thrombus in acute iliofemoral DVT, with approximately 90% of patients experiencing significant thrombolysis.”
Vedantham, JVIR, 2006

## Slide 19: Catheter-Directed Thrombolysis (CDT)
Urokinase – N/A
tPA (alteplase)
rtPA (reteplase)
  0.5mg/hr
Semba, JVIR, 2000
Sugimoto, Jvasc Surg, 2003
Bladwin, vasc Endo Surg, 2004
Notes: Semba, advisory panel 2000, 0.5mg/hr
rt-PA at low doses (0.5 to 1.0 mg/h), major bleeding has occurred in 3% to 4% of patients. Pooled risk of intracranial bleeding 0.2%

## Slide 20
POST
PRE

## Slide 21: What else apart from lysis?
Lysis doesn’t work
Lysis contraindicated
Acute limb threat
? Faster, Cheaper
Notes: Phlegmasia cerulea dolens

## Slide 22: Extracorporeal Removal of Thrombi and Emboli: the AngioVac Procedure
Typically performed in inpatient hospital setting
General anesthesia
Percutaneous procedure with real-time fluoroscopy
Multidisciplinary team:
  Interventionalist
  Surgeon
  Anesthesiologist
  Perfusionist

## Slide 23: AngioVac

## Slide 24: Standard AngioVac Cannula and Set Up
Access points are any combination of internal jugular (IJ) or common femoral vein (CFV). The above illustrates AngioVac (right IJ), reinfusion cannula (right CFV).
Right IJ
Right CFV

## Slide 25: RA Thrombus
Right Atrial (RA) thrombus as indicated by the arrow
IVC Thrombus
Extensive thrombus in the IVC both above and below the IVC filter
IVC Filter

## Slide 26: RA Thrombus Removed with AngioVac
PRE AngioVac
Right Atrial (RA) thrombus as indicated by the arrow
POST AngioVac
Thrombus removed with AngioVac

## Slide 27: Material Removed with AngioVac
Note the presence of both dark (fresh) thrombus…
…And the lighter, more chronic material

## Slide 28: Evidence

## Slide 30: Patient Selection Criteria
When extracorporeal removal of thrombus should be considered:
  Large thrombus burden not amenable to standard therapy – i.e. thrombolysis or rheolytic therapy (AngioJet)
  Patient is contraindicated for thrombolytic therapy – i.e. recent surgery, history of stroke (CVA)
  Patient is a high-risk or non-surgical candidate – decision made by the treating or consulting physician

## Slide 31: FDA Status
Original clearance March, 2009 (K091304, K092486).
Subsequent clearance March 2014 (K133445).
Intended for use as a venous drainage cannula during extracorporeal bypass for up to 6 hours and for removal of fresh, soft thrombi or emboli during extracorporeal bypass for up to 6 hours.
It is for the cannula’s expanded indication for removal of fresh, soft thrombi or emboli during extracorporeal bypass for up to 6 hours that the request for ICD-10-PCS code is made.

## Slide 32: Rationale for New ICD-10-PCS Code
Procedure code needed to describe extracorporeal bypass with removal of thrombi and emboli from venous system
  When used with prophylactic filtering during bypass surgery
  When used as stand alone, destination procedure

## Slide 33: ICD-10-PCS Code Options
Description | Comment
Do not create new codes for removal of thrombi and emboli that use cardiopulmonary bypass | This option does nothing to improve the fact that there are no ICD 9 or ICD 10 codes to describe this procedure
Create new codes to capture the prophylactic filtering during cardiopulmonary bypass in section 5A1 and removal of thrombus in the Medical Surgical tables 02C,05C and 06C | If the procedure to remove the thrombus can be coded independent of the prophylactic filtering this option is acceptable. If not, this option does not provide a means of identifying the destination stand alone removal of thrombus.
Create new codes in section X New Technology to identify removal of thrombus using the extracorporeal suction technique | We tentatively support this option but require more detail on this New Technology code section
Create new codes in section X New Technology to identify prophylactic filtering using the extracorporeal suction technique, during surgery that uses cardiopulmonary bypass | We do not support this option because it does not provide a means to code the procedure when performed as a destination therapy

## Slide 34: Conclusion
This is a novel approach to treat a serious condition
Not currently coded, not currently forecast for coding under ICD-10-PCS
Hospitals need code for identification of procedure:
  Data Capture
  Economic Analysis
  Outcomes
  Application for NTAP will be made
  We request consideration of new code(s) for 2017 or as soon as code freeze is lifted

## Slide 35: Questions/Answers/Discussion